## List (hidden)
Categories | Features
Optical Distribution Category | FO Connector | Configuration | FOC Protection | Mounting Type
Optical Splice Closure | E2000 | Simplex | Anti Rodent | Wall-mount
Distribution Housings | LC | Duplex | Ballistic Protection | Pole Mount
Multi Dwelling Unit (MDU) | SC | Quadruplex | Dielectric Armoured | DIN Rail
Fiber Termination Box | ST | 1x32 | Dielectric Unarmoured | Handhole mount
Optic Wall Outlet | FC | 1x4 | Metallic Armoured | Pedestal mount
Network Cabinets | MU | 1x2 |  | Strand mount
ODFs & Sub-Racks | LCHD | 1x8
Fiber Patch Panel | CS | 1x16
Splice Cassettes & Drawers | SN | Set
Plug-in Modules | MPO-F
MPO-M
Unconnectorized
Fiber Type (ITU)
OM1 G.651.1
FO Assembles | Package Tpye | CRP | OM2 G.651.1
Pre-Terminated Cables | Set | Aca | OM3 G.651.1
Splitters | Carton | B1ca | OM4 G.651.1
Patch Cords | Box | B2ca | OM5 G.651.1
Pigtails | Pallet | Cca | OS2 G.652.D
FO Connector | Spool | Dca | OS2 G.657.A1
Optic Adapter | Reel | Eca | OS2 G.657.A2
Ferrule | Pallet | Fca | OS2 G.657.B3
Coupling Parts |  |  | OS2 G.653
Attenuator |  |  | OS2 G.654
OS2 G.655
OS2 G.656
Structural Cabling Category
Copper Telecom Cables | Twisted Pair Category | Cable Shielding Type | Cabinet type
Twisted Pair Cables | CAT 5e | U/UTP | Outdoor Cabinet
Patch Panels | CAT 6 | U/FTP | Network cabinet
Racks & Cabinets | CAT 6A | F/UTP | Server cabinet
Outlets, Modules & Faceplates | CAT 7 | F/FTP | Industrial cabinet
RJ45 Ethernet Patch Cords | CAT 7A | S/UTP | Open Frame Rack
Connector RJ45 | CAT 8 | S/FTP | Open rack, unmounted
Keystone Jack |  | SF/UTP
Cassette Module |  | SF/FTP
Adapter
Twinax
HDMI Cable
Coaxial Category | Coaxial Connector Type | Outlet Network Type
Coaxial Cables | Compression SCA | Multimédia (TV-Dados)
Coaxial Jumper Cable | Compression F type | TV/Radio
| IEC | Data-Data
| Pin | DATA/TV/Radio
Coaxial Category | Adapter | TV/Radio-SAT
Coaxial Connectors | Reductor | TV/DATA1/DATA2/Radio
Filters, Equalizers & Attenuators | Splice | TV/DATA/SAT/Radio
House Amplifiers | RF Connector
Satellite
Galvanic Isolator
Coaxial Splitter
Indoor Tap | Coaxial Cable Type | Inner Conductor
Outdoor Tap | RG59 | Bare copper
Directional Coupler | RG6 | Silver plated copper
Power Splitter | RG11 | Tin plated copper
Antenna Wall Outlets | 540 | Nickel plated copper
Push on Adapter | 625 | Copper-clad steel
Faceplates & Frames | 715 | Stranded copper
750
Categories/Microducts | Type of tube | Jacket Material
Microduct Direct Buried | Single Tube | PVC
Microduct Direct Install | Bundle/multi tube | PE
Microduct Aerial | Flat tube | HDPE
Microduct Indoor Application |  | PVDF
Manholes/Chambers |  | FRNC
Accessories - Duct Sealing |  | HFFR
Accessories - Lubricants |  | LSZH
Accessories - Coupling & Termination |  | PUR
Accessories - Gas-water block
Accessories - Joints and Terminations
Tools
Active Equipment | Tools & Acessories
Headend - HFC Equipments | Fusion
Optical Nodes - HFC Equipments | Measure
Amplifiers - HFC Equipments | Pliers
Power Supplies - HFC Equipments | Printers
House Amplifiers | Identification Labels
Home Gateway | Cleaning
Set-Top Box (STB) | Ties & Fasteners
Cordless Phone | Tubes, Taps & Glue
Corded Phone | Bolts, Plugs & Screws
ONT (Optical Network Terminal) | Manhole & Cover
Permises Networking | Wire Rope
Transceivers | Standard Ducts
LAN Switches | Anchoring
PoE | Suspension
Industrial Ethernet | Mounting
Media Converters | Cable Management
Broadband Communication | Fiber Raceway
Wireless LAN | Sleeves
IP Surveillance | Clamps
Duct Sealing
Coupling & Termination
Gas-water block
Joints & Terminations
Energy - Accessories
Safety Equipment
Various

## START
FIBRAIN ON SALE
Fiber Optic Cables
FIBRAIN Sp. z o.o. Sale General Terms and Conditions are available at: https://fibrain.com/cooperation-with-fibrain/ that is inherent part of herein document.
© FIBRAIN 2021, All Rights Reserved
The information contained within this document must not be copied, reprinted or reproduced in any form, either wholly or in part, without the written consent of FIBRAIN.
FIBRAIN Sp. z o.o.
Tel:+48 17 8660812; Fax:+48 17 8660811
Internet: www.fibrain.com email: sales@fibrain.com
|  | Valid up: | 2024-06-14

## Fiber Optic Cables
Cable type | Fiber type | Fiber quantity | Product code | Product Name (EN) | Datasheet (EN) | Quantity | Unit | 1km price EUR | Total EUR | Color code tube | Color code fiber | Package Type | Weight (kg) | Drum flange diameter (mm) | Drum core diameter (mm) | Warehouse
WOW! SPECIAL DISCOUNT -50%!
Dielectric, micromodules, outdoor | SM G657A2 | 132 | MDC-FM-132-EM3-0XCBCBKP4P-FL-079-21 | FIBRAIN CABLE MDC-FM SM 132* 9/125 G.657A2 11M12F ESM 1,3 2200N | https://cables.fibrain.com/uploads/produkty_rows/719/doc_en-61768b9424735.pdf?v38 | 1.947 | km | 970.678 | 1889.91 | https://cables.fibrain.com/produkt/p4p-color-code,741.html |  | Drum | 516 | 1400 | 600 | JAS
Duct outdoor dielectric | SM G652D | 240 | BDC-VM-240-A-0X220U8BKVV-079-21 | FIBRAIN CABLE BDC-VM SM 240*9/125 G.652D 30T8F TUBE 2,0 2700N | https://cables.fibrain.com/uploads/produkty_rows/720/doc_en-61768fea0dfd1.pdf?v38 | 0.96 | km | 1117.8038 | 1073.0917 | https://cables.fibrain.com/produkt/vv-color-code,730.html |  | Drum | 570 | 1800 | 800 | RZE
ADSS Micromodules | SM G657A2 | 48 | MAR-FM-048-EMG-0XC86BKPP-TDF | G657A2 - AERIEN M6 - 48FO | Ask for datasheet | 3.279 | km | 419.6764 | 1376.1189 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 331 | 1200 | 500 | RZE
[6 empty] | 3.05 | km | 419.6764 | 1280.013 |  |  | Drum | 315 | 1200 | 500 | RZE
[6 empty] | 0.949 | km | 419.6764 | 398.2729 |  |  | Drum | 108 | 800 | 500 | RZE
ADSS Micromodules | SM G657A2 | 96 | MAR-FM-096-AM3-0XC8CBKPP-COV-PR1 | FIBRAIN CABLE MAR-FM SM 96* 9/125 G.652D 8M12F ESM 1,3 1600N | Ask for datasheet | 0.675 | km | 526.7457 | 355.5534 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 85 | 1000 | 450 | JAS
ADSS Micromodules | SM G657A2 | 288 | MAR-FM-288-AM3-0XCOCBKPP-COV-PR1 | FIBRAIN CABLE MAR-FM SM 288* 9/125 G.652D 24M12F ESM 1,3 2500N | Ask for datasheet | 1.127 | km | 1260.3847 | 1420.4536 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 180 | 1400 | 600 | JAS
Duct outdoor dielectric | SM G657A1 | 30 | BDC-CI-030-D-0X120361CBKTT | FIBRAIN CABLE BDC-CI SM 30* 9/125 G.657A1 3T6F + 1T12F TUBE 2,0 2700N PE | Ask for datasheet | 10.216 | km | 246.7557 | 2520.8567 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 1047 | 1500 | 500 | JAS
Duct outdoor dielectric | MM OM2 | 8 | BDC-C0-008-I-0L12018BKT2T2 | FIBRAIN CABLE BDC-C0 MM 8* 50/125 OM2 1T8F TUBA 2,0 2000N BLACK LSOH | https://fibrain.com/product/bdc-c0-lsoh-2000n-duct-cable/ | 2.569 | km | 338.9799 | 870.8393 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_C3C3.pdf |  | Drum | 428 | 1200 | 500 | RZE
Duct outdoor dielectric, doble PE jacket | SM G657A1 | 24 | DDC-CI-024-D-XX12064BKD1D1-079-21 | FIBRAIN CABLE DDC-CI SM 24* 9/125 G.657A1 6T4F TUBE 2,0 3500N | Ask for datasheet | 2.04 | km | 272.8413 | 556.5963 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_D1D1.pdf |  | Drum | 181 | 900 | 400 | JAS
[6 empty] | 1.87 | km | 272.8413 | 510.2133 |  |  | Drum | 169 | 900 | 400 | JAS
[6 empty] | 5.54 | km | 272.8413 | 1511.541 |  |  | Drum | 535 | 1400 | 600 | JAS
Duct outdoor dielectric, doble PE jacket | SM G657A1 | 144 | DDC-L027B-144-D-XX117CCBKTT-EXTL | FIBRAIN CABLE DDC-L027B SM 144* 9/125 G.657A1 12T12F TUBA 1,7 4000N | https://fibrain.com/product/ddc-ci-4-kn-double-jacket-duct-cable-2/ | 0.986 | km | 750.0363 | 739.5358 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 493 | 1400 | 600 | JAS
[6 empty] | 0.93 | km | 750.0363 | 697.5338 |  |  | Drum | 605 | 2000 | 9000 | RZE
Duct outdooe dielectric, double HDPE jacket, corrugated steel armouring | SM G657A1 | 24 | DSC-CI-024-D-XX12064BKD1D1-BNT | FIBRAIN CABLE DSC-CI SM 24* 9/125 G.657A1 6T4F TUBE 2,0 2700N | Ask for datasheet | 0.722 | km | 375.9191 | 271.4136 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_D1D1.pdf |  | Drum | 255 | 1200 | 500 | JAS
[6 empty] | 4.398 | km | 375.9191 | 1653.2923 |  |  | Drum | 865 | 1500 | 500 | JAS
[6 empty] | 1.329 | km | 375.9191 | 499.5965 |  |  | Drum | 510 | 1500 | 500 | JAS
[6 empty] | 4.096 | km | 375.9191 | 1539.7647 |  |  | Drum | 815 | 1500 | 500 | JAS
[6 empty] | 4.142 | km | 375.9191 | 1557.057 |  |  | Drum | 820 | 1500 | 500 | JAS
[6 empty] | 4.13 | km | 375.9191 | 1552.546 |  |  | Drum | 820 | 1500 | 500 | JAS
Dielectric, central tube, indoor | MM OM1 | 8 | EXO-G0-08-H-0LC32BLII-079-21 | SINGLE LOOSE TUBE WITH JELLY WITH NR. 8 F.O. 62,5/125 (STANDARD OM1)+ FIBER GLASS WATER BLOCKING+LSZH U.V. RESISTANT EXTERNAL JACKET (BLUE COLOR) | https://cables.fibrain.com/uploads/produkty_rows/722/doc_en-61769537dd0b1.pdf?v38 | 4.005 | km | 184.6927 | 739.6943 | https://cables.fibrain.com/produkt/i-color-code,726.html |  | Drum | 176 | 900 | 400 | JAS
[6 empty] | 0.71 | km | 184.6927 | 131.1318 |  |  | Drum | 182 | 900 | 400 | JAS
Dielectric, micromodules, outdoor | SM G657A2 | 72 | MDC-FM-072-EMG-0XC6CBKPP-TDF | G657A2 - CONDUITE M12 - 72FO | Ask for datasheet | 3.999 | km | 437.6041 | 1749.9789 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 341 | 1200 | 500 | JAS
[6 empty] | 4 | km | 437.6041 | 1750.4165 |  |  | Drum | 341 | 1200 | 500 | JAS
Dielectric, micromodules, outdoor | SM G657A2 | 72 | MDC-FM-072-EMG-0XCC6BKPP-TDF | G657A2 - CONDUITE M6 - 72FO | Ask for datasheet | 4 | km | 455.1789 | 1820.7158 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 321 | 1200 | 500 | RZE
[6 empty] | 4 | km | 455.1789 | 1820.7158 |  |  | Drum | 321 | 1200 | 500 | RZE
Dielectric, micromodules, outdoor | SM G657A2 | 144 | MDC-FM-144-EMG-0XCCCBKPP-TDF | G657A2 - CONDUITE M12 - 144FO | Ask for datasheet | 4 | km | 801.9603 | 3207.8411 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 498 | 1400 | 600 | RZE
Dielectric, micromodules, outdoor | SM G657A2 | 144 | MDC-FM-144-EMG-0XCO6BKPP-TDF | G657A2 - CONDUITE M6 - 144FO | Ask for datasheet | 3.911 | km | 721.0116 | 2819.8763 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 494 | 1400 | 600 | RZE
[6 empty] | 2.57 | km | 721.0116 | 1852.9998 |  |  | Drum | 368 | 1400 | 600 | RZE
Dielectric, micromodules, outdoor | SM G657A2 | 288 | MDC-FM-288-EMG-0XCOCBKPP-TDF | G657A2 - CONDUITE M12 - 288FO | Ask for datasheet | 1.937 | km | 1220.9414 | 2364.9635 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 373 | 1200 | 500 | RZE
[6 empty] | 2.039 | km | 1220.9414 | 2489.4996 |  |  | Drum | 387 | 1200 | 500 | RZE
[6 empty] | 2.804 | km | 1220.9414 | 3423.5197 |  |  | Drum | 544 | 1500 | 500 | RZE
[6 empty] | 0.56 | km | 1220.9414 | 683.7272 |  |  | Drum | 118 | 800 | 400 | RZE
Microcable | SM G657A1 | 4 | MK-DXS25-04-D-0XC17BKND-079-21 | METROJET CABLE MK-DXS25 SM 4* 9/125 G.657A1 1T4F CT TUBE 1,75 150N PE BLACK | Ask for datasheet | 0.362 | km | 46.8299 | 16.9524 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_D.pdf |  | Drum | 8 | 600 | 300 | JAS
[6 empty] | 0.473 | km | 46.8299 | 22.1506 |  |  | Drum | 10 | 600 | 300 | JAS
[6 empty] | 0.807 | km | 46.8299 | 37.7918 |  |  | Drum | 9 | 600 | 300 | JAS
[6 empty] | 0.66 | km | 46.8299 | 30.9078 |  |  | Drum | 10 | 600 | 300 | JAS
[6 empty] | 0.786 | km | 46.8299 | 36.8083 |  |  | Drum | 17 | 600 | 300 | JAS
[6 empty] | 2.27 | km | 46.8299 | 106.304 |  |  | Drum | 9 | 600 | 300 | JAS
[6 empty] | 0.6 | km | 46.8299 | 28.098 |  |  | Drum | 22 | 600 | 300 | JAS
[6 empty] | 3.195 | km | 46.8299 | 149.6217 |  |  | Drum | 11 | 600 | 300 | JAS
[6 empty] | 1.059 | km | 46.8299 | 49.5929 |  |  | Drum | 9 | 600 | 300 | JAS
[6 empty] | 0.691 | km | 46.8299 | 32.3595 |  |  | Drum | 9 | 600 | 300 | JAS
[6 empty] | 0.563 | km | 46.8299 | 26.3653 |  |  | Drum | 9 | 600 | 300 | JAS
[6 empty] | 0.709 | km | 46.8299 | 33.2024 |  |  | Drum | 10 | 600 | 300 | JAS
[6 empty] | 0.835 | km | 46.8299 | 39.103 |  |  | Drum | 8 | 600 | 300 | JAS
[6 empty] | 0.553 | km | 46.8299 | 25.897 |  |  | Drum | 8 | 600 | 300 | JAS
[6 empty] | 0.556 | km | 46.8299 | 26.0375 |  |  | Drum | 9 | 600 | 300 | JAS
[6 empty] | 0.637 | km | 46.8299 | 29.8307 |  |  | Drum | 8 | 600 | 300 | JAS
[6 empty] | 0.45 | km | 46.8299 | 21.0735 |  |  | Drum | 11 | 600 | 300 | JAS
[6 empty] | 0.982 | km | 46.8299 | 45.987 |  |  | Drum | 10 | 600 | 300 | JAS
[6 empty] | 0.866 | km | 46.8299 | 40.5547 |  |  | Drum | 25 | 600 | 300 | JAS
[6 empty] | 3.885 | km | 46.8299 | 181.9343 |  |  | Drum | 11 | 600 | 300 | JAS
[6 empty] | 1.013 | km | 46.8299 | 47.4387 |  |  | Drum | 24 | 600 | 300 | JAS
[6 empty] | 3.608 | km | 46.8299 | 168.9625 |  |  | Drum | 24 | 600 | 300 | JAS
[6 empty] | 3.607 | km | 46.8299 | 168.9156 |  |  | Drum | 17 | 600 | 300 | JAS
[6 empty] | 2.251 | km | 46.8299 | 105.4142 |  |  | Drum | 26 | 600 | 300 | JAS
[6 empty] | 3.962 | km | 46.8299 | 185.5403 |  |  | Drum | 11 | 600 | 300 | JAS
[6 empty] | 1.018 | km | 46.8299 | 47.6729 |  |  | Drum | 6 | 600 | 300 | JAS
Microcable | SM G657A1 | 6 | MK-DXS25-06-D-0XC17BKND-079-21 | METROJET CABLE MK-DXS25 SM 6* 9/125 G.657A1 CT TUBE 1,7 PE BLACK | Ask for datasheet | 0.257 | km | 51.0651 | 13.1237 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_D.pdf |  | Drum | 18 | 600 | 300 | JAS
[6 empty] | 0.739 | km | 51.0651 | 37.7371 |  |  | Drum | 11 | 600 | 300 | JAS
[6 empty] | 0.426 | km | 51.0651 | 21.7537 |  |  | Drum | 8 | 600 | 300 | JAS
[6 empty] | 1.079 | km | 51.0651 | 55.0993 |  |  | Drum | 13 | 600 | 300 | JAS
[6 empty] | 0.52 | km | 51.0651 | 26.5539 |  |  | Drum | 9 | 600 | 300 | JAS
Microcable | SM G657A1 | 12 | MK-DXS25-12-D-0XC17BKND-079-21 | METROJET CABLE MK-DXS25 SM 12* 9/125 G.657A1 CT TUBE 1,7 | Ask for datasheet | 0.92 | km | 63.281 | 58.2185 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_D.pdf |  | Drum | 11 | 600 | 300 | JAS
[6 empty] | 0.725 | km | 63.281 | 45.8787 |  |  | Drum | 11 | 600 | 300 | RZE
[6 empty] | 0.625 | km | 63.281 | 39.5506 |  |  | Drum | 10 | 450 | 270 | JAS
[6 empty] | 0.884 | km | 63.281 | 55.9404 |  |  | Drum | 12 | 450 | 270 | JAS
[6 empty] | 1.315 | km | 63.281 | 83.2145 |  |  | Drum | 15 | 450 | 270 | JAS
[6 empty] | 0.214 | km | 63.281 | 13.5421 |  |  | Drum | 8 | 450 | 270 | JAS
[6 empty] | 2 | km | 63.281 | 126.562 |  |  | Drum | 19 | 435 | 300 | JAS
[6 empty] | 0.529 | km | 63.281 | 33.4757 |  |  | Drum | 10 | 450 | 270 | JAS
Microcable | SM G657A1 | 96 | MK-LXS7-096-D-0X1148CBKD1D1-079-21 | FIBRAIN CABLE MK-LXS7 SM 96* 9/125 G.657A1 8T12F TUBE 1,45 1200N | Ask for datasheet | 0.618 | km | 334.138 | 206.4973 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_D1D1.pdf |  | Drum | 60 | 800 | 500 | JAS
[6 empty] | 0.809 | km | 334.138 | 270.3177 |  |  | Drum | 63 | 800 | 400 | JAS
[6 empty] | 1.183 | km | 334.138 | 395.2853 |  |  | Drum | 75 | 800 | 400 | JAS
[6 empty] | 1.178 | km | 334.138 | 393.6146 |  |  | Drum | 77 | 800 | 500 | JAS
[6 empty] | 0.9 | km | 334.138 | 300.7242 |  |  | Drum | 66 | 800 | 400 | JAS
[6 empty] | 1.141 | km | 334.138 | 381.2515 |  |  | Drum | 76 | 800 | 500 | JAS
Microcable special design | SM G657A1 | 288 | MK-LXS10-288-A-0X214OCBKVV-079-21 | METROJET CABLE MK-LXS10 SM 288* 9/125 G.652D 24T12F TUBE 1,4 1000N | https://cables.fibrain.com/uploads/produkty_rows/720/doc_en-6156ef330c10d.pdf?v38 | 0.662 | km | 968.1148 | 640.892 | https://cables.fibrain.com/produkt/vv-color-code,730.html |  | Drum | 252 | 1200 | 500 | RZE
Supplementary sales conditions:
• Offer validity: until the stock sold out;
• Prices: EXW Rzeszów (Poland);
• General Sales Conditions available at https://fibrain.com/cooperation-with-fibrain/